1. 	PERMIT ISSUE (For completion by authorised permit issuer)

| Building name: |  |
| --- | --- |
| Location of work: |  |
| Description of work: |  |
| Permit starts: | Date: |  | Time: |  |
| Permit expires: | Date: |  | Time: |  |
| Combustibles removed, covered or damped down? Holes and openings in walls, floors, partitions and ceilings protected with non-combustible materials? Risk to insulating or other materials within building panels considered? Area free from flammable liquids and gases? Two ‘A rated’ fire extinguisher to hand and personnel trained in use? Person appointed on ‘fire watch duties’? Fire procedure explained? Neighbouring areas assessed for risk of heat transfer? Smoke detectors isolated/covered as required? Atmosphere checked for flammable gases? Sprinklers are operative? | Yes N/A Yes N/A Yes N/A Yes Yes Yes Yes Yes Yes N/A Yes N/A Yes N/A |
| Specific safety requirements before commencing work: |
| In an emergency please contact: (name) on: (tel. no.) |
| Name Name (Block Capitals) |  | Signature |  | Date |  |

- RECEIPT (To be completed by person responsible for the work prior to working)

I understand the scope of work and precautions to be taken

| Name Name (Block Capitals) |  | Signature |  | Date |  |
| --- | --- | --- | --- | --- | --- |

3.	EXTENSION OF PERMIT (If required)

| Time extension: Start |  | End |  |
| --- | --- | --- | --- |
| Authorised person signature |  | Signed for those undertaking the work |  |

4.	CLEARANCE (To be signed by both parties when work has stopped)

The area has been left in a safe condition, equipment (including gas cylinders) has been removed and all areas at risk have been checked one hour after completion for signs of smouldering.

| Signed for those undertaking the work |  | Date |  | Time |  |
| --- | --- | --- | --- | --- | --- |
| The fire alarm has been fully reinstated Yes N/A. The Permit is now cancelled; all additional works will require a new permit to be issued. |
| Authorised person signature |  | Date |  | Time |  |

# Text boxes

Permit Number:

Page 1                                                                                                                        Hettle Andrews Permit to Work 2013

www.hettleandrews.co.uk

Page 2                                                                                                                        Hettle Andrews Permit to Work 2013

www.hettleandrews.co.uk

Disclaimer

These permits to work are provided by Hettle Andrews for general guidance on matters of interest.  In making these documents available to a general and diverse audience it is not possible to anticipate the requirements or the hazards of any subscriber’s business.  Users are therefore advised to carefully evaluate the contents and adapt the permits to work to suit the requirements of each situation.  Hettle Andrews does not accept any liability whatsoever for injury, damage or other losses which may arise from reliance on this information and the use of these documents.

Copyright of these documents remains with Hettle Andrews and whilst subscribers are permitted to make use of them for their own purposes, permission is not granted for resale of the intellectual property to third parties.