Model Policy

Workplace Environment

# Text boxes

Insert your company logo here

First Published February 2009

Reviewed and updated: October 2014

Disclaimer

These example forms, checklists and model policies are provided by Hettle Andrews for general guidance on matters of interest.  In making these documents available to a general and diverse audience it is not possible to anticipate the requirements or the hazards of any subscriber’s business.  Users are therefore advised to carefully evaluate the contents and adapt the forms and checklists to suit the requirements of each situation.  Hettle Andrews does not accept any liability whatsoever for injury, damage or other losses which may arise from reliance on this information and the use of these documents.

Copyright of these documents remains with Hettle Andrews and whilst subscribers are permitted to make use of them for their own purposes, permission is not granted for resale of the intellectual property to third parties.

A Hettle Andrews Model Policy: Workplace Environment

Surface Temperatures

All organisations should include this section in their policy’s arrangements section.  Alter and add to it as necessary to reflect the controls in place within your business. Read the Hettle Andrews Guide on ‘Workplace Environment’ for a more detailed review of the subject and the management arrangements required.

Workplace Environment

The comfort of our staff is a high priority and we will do all that is reasonably practicable to ensure the thermal comfort, adequate ventilation and sufficient lighting of our premises.  	

To achieve this we provide:

Include here, details of the facilities in place, eg.

- a central heating system

- additional heating appliances where necessary

- windows which can be opened safely

- adjustable blinds

- portable fans where necessary

- air conditioning units/an air conditioning system

- lighting which is suitable for the tasks undertaken

- emergency lighting which lights escape routes and high hazard areas in the event of failure of the normal lighting circuit.

Note that it may not be necessary to provide all of these facilities to meet minimum legal requirements, but effective means of providing heating, lighting and ventilation are required under the Workplace (Health, Safety & Welfare) Regulations. See further information in the Hettle Andrews Workplace Environment Guide.

All equipment provided for the purpose of workplace comfort is subject to periodic checks, maintenance and repairs by competent engineers.

To assist in monitoring the indoor workplace temperature, thermometers are displayed in representative areas of the workplace.  	

Note that sufficient thermometers must be displayed to provide a representative reading in respect of each work area, this does not mean that thermometers are required in every room.

For our __________ [describe staff roles] who work outside, we provide suitable warm and weather proof clothing in the winter and sun protection in the summer.  Additional rest breaks are provided during extremes of weather and facilities for making hot or cold drinks are always available.

Page 1                                                                                                                                Hettle Andrews Model Policy 2014

www.Hettle Andrews.co.uk