Model Policy

Building Maintenance and Alteration

Organisations should include this section in their policy’s arrangements section unless there is no possibility of building or maintenance work being undertaken under their control e.g. if the business leases serviced office premises.

Note that this section is not intended to cover businesses engaged in construction and maintenance work at third party premises although the contents may be useful in those circumstances if supplemented by other specific policies.

Alter and add to this as necessary to reflect the controls in place within your business.

Building Maintenance and Alteration

When planning maintenance work and minor alterations we schedule the work so far as possible to avoid risks to staff and others who would normally be present in the area. Where an area, includes hazardous equipment or activities either on a permanent or temporary basis, we ensure that physical barriers are utilised including locks and signage where necessary, to prevent access by unauthorised persons.

If work is likely to compromise an occupied building’s fire escape routes or fire protection facilities, and it has been determined that it is safe to continue, we put in place temporary arrangements and provide additional instruction as required to ensure that building users can still use the building safely.	

Where work is carried out which involves breaking through walls, floors or ceilings, we check whether the work is likely to compromise fire compartments and make repairs with suitable materials to return the structure to the designed level of fire resistance.

We recognise the requirements of the Construction (Design and Management) Regulations 2015 (CDM 2015) and __________________________ [name or job title] takes the lead in ensuring that we are compliant. This includes identifying when projects are likely to exceed 30 working days with more than 20 workers on site, or more than 500 person days of construction work, and therefore requiring prior notification to the authorities.

The work of contractors is managed as described within our arrangements for the ‘Control of contractors’.

Permits to work are used to formally authorise activities with the potential for higher risk such as hot works and work on the roof.

The general safety of plant and service areas is a priority for the organisation and these are kept clean, tidy, free from the build-up of combustible materials and with clear access to all control mechanisms and switches.

A planned preventative maintenance programme has been devised to identify all of the routine maintenance and inspection activities required to maintain our premises and equipment in good order.,Records are kept of inspections, maintenance, repairs and servicing activities. Note that whilst there is no specific legal requirement to keep a log, this is best practice and may be necessary to provide evidence that legally required maintenance has been undertaken. It is a legal requirement that where a maintenance log is kept for equipment, it must be up to date.

If you have employees who undertake maintenance works include this section:

We undertake risk assessments of in-house maintenance activities and devise safe systems of work as a result.

We appreciate that our in-house workforce is regarded as a ‘contractor’ under CDM 2015 and that if we bring in any additional outside help with construction work, we must comply with all aspects of the regulatory requirements for projects involving ‘more than one contractor’.

For all construction work carried out in-house, regardless of scale, we ensure that:

- The work is managed and supervised by a competent manager/ supervisor.

- Workers are briefed in the reasons for the work and the expectations, including any safety requirements.

- The work does not begin until there is an adequate construction phase plan in place.

- There are suitable welfare facilities for workers.

- Workers are competent for the tasks that are delegated to them.

- Sufficient time and resources are allowed.

- Any design or specification work undertaken by our organisation on our behalf is undertaken by competent persons who are able to eliminate hazards and control risks within the design and meet their obligations under the Regulations.

- The construction work is segregated from the other activities taking place on site where necessary for health or safety - either by scheduling the work out of hours or by physical separation.

Note that other parts of the arrangements section of your policy should cover issues affecting maintenance staff e.g. ‘Hazardous and Dangerous Substances’, ‘Work Equipment’, ‘Asbestos’, ‘Work at Height’, ‘Manual Handling’, ‘Confined Spaces’, ‘Noise’, ‘Vibration’, ‘Lone working’. Provided that you have included the other relevant sections, these matters need not be repeated here.

Note that it may not be necessary to undertake all of the risk control measures listed, as this will depend to an extent on the nature and scale of your premises.

# Text boxes

Insert your company logo here

Disclaimer

These example forms, checklists and model policies are provided by Hettle Andrews for general guidance on matters of interest. In making these documents available to a general and diverse audience it is not possible to anticipate the requirements or the hazards of any subscriber’s business. Users are therefore advised to carefully evaluate the contents and adapt the forms and checklists to suit the requirements of each situation. Hettle Andrews does not accept any liability whatsoever for injury, damage or other losses which may arise from reliance on this information and the use of these documents.

Copyright of these documents remains with Hettle Andrews and whilst subscribers are permitted to make use of them for their own purposes, permission is not granted for resale of the intellectual property to third parties.