Model Policy

Health and Safety Arrangements for Fire [and Other Emergencies]

All organisations should include this section in their policy’s arrangements section.  Alter and add to this as necessary to reflect the controls in place within your business. In particular you should ensure that the testing, inspections and servicing detailed in this policy reflect the programme prescribed by your fire safety risk assessor or other competent fire safety advisor.

Note that this template refers throughout to record keeping. Although this is not a specific legal requirement it is strongly recommended that records of testing, maintenance and monitoring are kept in order to provide evidence of compliance. In many cases, example forms are available on the Hettle Andrews service.

Read the Hettle Andrews Guide on ‘Fire Precautions and Fire Protection’ and other more specific fire guides for a more detailed review of the subject and the management arrangements required.

This section of our policy sets out our fire emergency plan to demonstrate how we have complied with requirements of _________________________ [e.g. the Regulatory Reform (Fire Safety) Order 2005, the Fire (Scotland) Act 2005, the Fire Safety Regulations (Northern Ireland) 2010].

If you have also included in this section, details of your arrangements for dealing with other foreseeable arrangements, indicate that here.

Fire Emergency Plan [delete this heading if the section only covers fire ie no other types of emergency]

Responsibilities

The person with overall responsibility for fire safety in our premises is ______________ [name or job title].

Describe the role of others who may be involved in day to day tasks.

Describe the number, training and role of fire marshals and if applicable, others involved in maintenance and testing of precautions e.g. “in addition we have appointed five fire marshals to provide cover during normal office hours. These fire marshals have received training in their role and in the practical use of extinguishers from the local fire and rescue service. In addition to their role in a fire situation (described in the Fire Procedure section), they are also responsible for carrying out daily and weekly checks of the fire protection systems and escape routes and conducting weekly alarm tests, monthly emergency lighting testing and periodic fire drills.”

Fire Safety Assistance

The company has appointed ____________________________ [name, job title or company name] to provide competent assistance on fire safety matters in accordance with _____________________ [e.g. Article 18 of the Regulatory Reform (Fire Safety) Order 2005, Regulation 17 of Fire Safety (Scotland) Regulations 2006, Regulation 17 of the Fire Safety Regulations (Northern Ireland) 2010].

Fire Safety Risk Assessment

Our __________________________ [e.g. Health and Safety Advisor, Fire Safety Consultant] has undertaken a fire safety risk assessment of our premises and reviews this on __________________ [frequency e.g. an annual basis].

The risk assessment is held at _______________________ [location] and ________________________ [name or job title] is responsible for ensuring that the recommendations arising from the assessment are implemented.

Fire Prevention

Fire hazards are identified within the fire safety risk assessment and recommendations implemented to control them.  In particular we have implemented risk control measures in response to the risks potentially arising from the hazards of ______________________________ [e.g. hot work, natural gas systems, electricity, waste accumulation, storage of combustibles, arson, smoking, neighbouring premises activities, flammable liquids and flammable gases].

Summarise fire prevention measures which have been implemented e.g. electrical inspection and testing, control of hot work, gas safety inspections, regular removal of waste, locking of external bins, smoking rules, fire separation from neighbouring premises, correct storage of flammable liquids.  Refer to the fire safety risk assessment for this information.

If you have lightning protection installed on the building, describe here who is responsible for arranging 11 monthly inspection and where records are kept. If you do not have lightning protection, explain any plans for assessing the need for lightning protection or why this is not required.  You may need to seek advice from your competent fire advisor in this regard.

Alarm System

Our premises are covered by a comprehensive fire alarm system incorporating automatic fire and smoke detection and manual call points. Note that this is normally required although extremely small premises could have alternative systems for raising the alarm e.g. shouting ‘fire’, manual alarm.

The alarm system is serviced routinely on a six-monthly basis. Note that alternative frequencies may be implemented according to risk assessment recommendations.

The alarm system is tested by _______________________ [name or job title] on a weekly basis by activating a different alarm call point each time in rotation. Describe how staff/people in the building are made aware of the fact that the alarm is a test e.g. the alarm is activated at 10am on a Tuesday each week and is sounded for a minimal amount of time to ensure that staff are aware that it is a test. OR An announcement is made over the tannoy system immediately prior to the alarm test and immediately afterwards to confirm completion.] During the alarm test, we take the opportunity to check audibility of the alarm throughout the premises [and also to test the correct operation of equipment connected to the alarm eg doors which are held open on devices designed to release automatically on sounding of the alarm, locks which release on sounding the alarm].

The results of alarm testing and servicing are recorded and held _______________________ [location eg in our fire log book at Reception].

Emergency Lighting

We have installed an emergency lighting system incorporating battery back up, which activates on failure of the lighting circuit.  The system is subject to a monthly activation test and an annual full discharge test by _______________________ [name or job title]. The results of emergency lighting tests are recorded and held _______________________ [location e.g. in our fire log book at Reception].

Signage

Directional fire escape signs are displayed throughout the building to indicate the location of emergency exits. These signs are illuminated _____________________ [describe locations where this applies e.g. basement, assembly rooms intended to be darkened].  Delete this last sentence if not applicable.

Signs are also displayed:

- to identify the location of the assembly point; delete this line if it is not practical to sign the assembly point e.g. if the building has no grounds

- to describe the type and function of fire extinguishers

- to describe the correct operation of exit door hardware [i.e. ‘push bar to open’, ‘turn to exit’, break to exit – delete if not applicable]

- to show the correct operation of gas shut off valves - delete if there is no gas shut off

- to indicate the correct use of hosereels - delete if not applicable

- to show ‘fire action’ required

- to identify fire doors which must be kept shut [or kept clear] – delete if not applicable

- to provide the names of fire marshals – not specifically required but helps to fulfill legal requirements to communicate this information

- to designate the building as non-smoking in accordance with smoke free law

- to indicate on each lift landing ‘in the event of fire do not use lift’ – delete if not applicable

- list here any other particular fire signage displayed.

All signs comply with the Health and Safety (Safety Signs and Signals) Regulations 1996.  As part of our routine weekly checks ________________________ [name or job title] checks that safety signs are in place and clearly visible. The results of these checks are recorded and held at _______________________ [location e.g. in our fire log book at Reception].

Escape Routes and Exits

Structural fire separation is provided by protected routes surrounded by fire resistant walls, ceilings, and fire doors [add details of other structural elements providing fire protection eg fire shutters] providing ____________________ [e.g. 30 minute,1 hour, 2 hour] fire protection. Where building alterations take place which could result in damage to the fire protection, we ensure that the project includes measures to provide temporary protection during the work and to reinstate fire protection to the required level. Not all buildings have fire separation (e.g. small buildings may not require it), therefore delete this if not applicable.  You may need input from your competent fire safety advisor in order to complete the information.

Fire doors are kept closed by self closing devices [and/or kept locked shut where designed to be].  [Where designed to be held open, fire doors are kept clear so that they can close correctly]. If you have doors on hold open devices, indicate that they are shut at night (unless there are very strong reasons for not doing so).

On a weekly/daily basis ________________________ [name or job title] checks that all escape routes are clear, that exit doors are functioning correctly and that fire doors are either kept shut, kept clear or locked shut [amend as applicable] as required.  Note that a formal weekly check may be sufficient for a very small business.  For locations with public access these checks should be at least once per day.

The condition of each fire door including the presence and condition of door closers, intumescent and smoke seals is checked ___________________ [e.g. monthly (the frequency will depend on usage and potential damage]. Delete if there are no fire doors

The results of escape route and fire door checks are recorded and held at _______________________ [location e.g. in our fire log book at Reception].

Fire Extinguishers [and sprinklers]

We have selected suitable numbers and types of fire extinguishers and located these in accordance with the findings of the fire safety risk assessment. Describe either in general terms or specifically, the fire extinguishers provided. Our fire marshals [and detail other staff if applicable] have been trained in the practical use of extinguishers and the circumstances when they can be safely used and when they should not be used.

Fire extinguishers are subject to an annual servicing contract.

On a monthly/weekly basis ________________________ [name or job title] checks that fire extinguishers are correctly located and appear to be in good condition. The results of these checks are recorded _______________________ [location e.g. in our fire log book at Reception].

If you have a sprinkler system in the premises, describe the maintenance programme the weekly checks and who undertakes these and what, records kept etc. Include details of how storage is kept clear of sprinklers to ensure their continued effectiveness.

Fire Procedure

Describe your fire procedure. Don’t forget to detail any particular procedures for high risk areas as applicable. Here is an example of a procedure for a small building with a single stage fire alarm system:

Action on discovering a fire

- raise the alarm by operating one of the manual call points

- attempt to tackle the fire only if trained and if it is safe to do so (small fire, clear escape, only discharge one extinguisher)

- leave by the nearest available exit to the assembly point at ___________________ [location – select somewhere safely away from the building and safely clear of the area in which fire tenders will arrive]

- do not use the lifts. [delete if not applicable]

Action on hearing the alarm – all persons except for Fire Marshalls

- do not stop to collect personal belongings

- close windows and doors if it does not cause undue delay

- escort any visitors and leave by the nearest available exit and go to the assembly point ___________________ [location]

- do not use the lifts [delete if not applicable]

- check that someone has called the Fire Brigade by dialing ___________ [e.g. 999/ 9-999]

do not return to the building until given the all clear by the Fire Brigade.

Action on hearing the alarm – Receptionist

Call the fire brigade immediately to every fire or on suspicion of fire.

Dial from the reception phone if safe but if in doubt, dial from a mobile phone from the assembly point.

- dial ____________ [e.g. 9-999] from reception or 999 from a mobile

- give operator your telephone number __________________ [list telephone number] and ask for FIRE

- when the fire brigade replies give details:  Fire at ______________________________ [Full address details including postcode]

- do not replace receiver until address has been repeated by the fire brigade.

Action for Fire Marshalls on hearing the alarm

- check which zone has been activated by viewing the alarm panel

- so far as possible without taking risks, check that all areas of the floor are clear of people including stores, toilets and kitchen.  If there are two fire marshals on duty, divide the search between you if the opportunity arises [note. This is the procedure for a small building where the search would be 30 seconds or so, for larger buildings you will need to allocate marshals to each section to be searched]

- shut off machinery/the gas supply/other if safe to do so

- once the building is clear, go to the assembly point closing doors behind you. Include additional instructions to prevent the entrance being locked automatically behind them e.g. but ensure that the front door is either left on the latch or that a key is available

- meet the Fire Brigade and report any persons who remain in the building, report on areas not able to be checked, any signs of fire observed and the zone indicated on the panel [and the location of any hazards to the Fire Brigade e.g. flammable substances]

- prevent people from reentering the building

- once the Fire Brigade announce that the building is safe, tell assembled staff that they may return to the building.

Disabled Persons and Others Requiring Assistance

Note that you need to include this paragraph if you have persons present or likely to be present in this category. If this applies, ensure also that the Fire Procedures section incorporates any additional procedures necessary.

Describe any persons who are present or could be present requiring additional facilities and/or assistance during an emergency.  Describe the additional arrangements which have been put in place. This may include visual beacons on alarm systems, vibrating pagers, buddy systems, escorting of disabled visitors, fire refuges for the mobility impaired.  If there are fire refuges, describe the arrangements for communication and rescue.

Fire Drills

Fire drills are carried out at least every _____________________ [frequency e.g. six months]. Note that drills are normally a requirement though it may not be necessary if there are very few persons in a simple building and the objectives can be as effectively achieved by a briefing.

A proportion of drills are undertaken whilst simulating the lack of availability of at least one exit. [Drills are also undertaken for night staff].

Records of drills are held __________________________ [describe location e.g. in our fire log book at Reception].

Training for all Staff

New starters are provided with information on emergency procedures on their first day of employment including the location of escape routes, the sound of the alarm and the location of the assembly point.  It is recommended that you devise checklists tailored to your business for staff induction to include fire safety matters. If a checklist is available refer to it here.  Note that within the Hettle Andrews ‘Fire Precautions and Fire Protection’ Guide there is a detailed list of fire safety information to be provided to new starters and we also have an example ‘Induction Checklist’ on the service.

All staff receive annual refresher training in fire safety and fire procedures.  Those with particular fire safety roles such as _____________________ [the receptionist/maintenance staff/other roles] are provided with instruction in their responsibilities.

Records of all training are held __________________________ [describe location e.g. in our fire log book at Reception].

Cooperation and Coordination

Describe here any arrangements you have for cooperating with other businesses sharing the premises in relation to fire safety matters.

Contractors working on the premises are briefed in essential fire safety matters including location of escape routes, the sound of the alarm and the location of the assembly point.  We ensure that contractors working on [gas and] electrical systems are suitably qualified.  Where contractors need to conduct ‘hot works’ we ensure that fire risks are adequately controlled [and apply a permit to work – delete if not applicable].  Further details of our arrangements for the control of contractors are included within a separate section of this policy.

Other Emergencies [delete this heading if there are no arrangements covering other types of emergency]

If there are other foreseeable emergencies for which you have arrangements e.g. bomb threat, suspect package, flood, toxic gas release, radiation leak. Include details here or cross refer to your other arrangements. You will need to cover similar headings for these other emergencies as are set out here for fire.

# Text boxes

Insert your company logo here

Disclaimer

These example forms, checklists and model policies are provided by Hettle Andrews for general guidance on matters of interest.  In making these documents available to a general and diverse audience it is not possible to anticipate the requirements or the hazards of any subscriber’s business.  Users are therefore advised to carefully evaluate the contents and adapt the forms and checklists to suit the requirements of each situation.  Hettle Andrews does not accept any liability whatsoever for injury, damage or other losses which may arise from reliance on this information and the use of these documents.

Copyright of these documents remains with Hettle Andrews and whilst subscribers are permitted to make use of them for their own purposes, permission is not granted for resale of the intellectual property to third parties.