Model Policy

Electricity

All organisations should include this section in their policy’s arrangements section.  Alter and add to this as necessary to reflect the controls in place within your business.

Electricity

If your business does not employ qualified electricians use the following phrase:

Our staffs are clearly instructed that they are not permitted to undertake any electrical repairs. All work on electrical equipment and installations is carried out by NICEIC or SELECT registered electrical contractors.  Note that use of registered contractors of this type is good practice. The minimum standard is that they are competent and suitably qualified.

If your business employs qualified electricians use the following phrase:

All work on electrical equipment and installations is carried out by our qualified electricians. We have undertaken risk assessments of their work activities and adopted safe systems of work based on best practice. Our Electricians are updated and provided with further information when there are changes to electrical installation standards. Other staff are clearly instructed that they are not permitted to undertake any electrical repairs.

All businesses should then include the following:

Electrical standards are applied as set out within the Electricity at Work Regulations 1989 and for new works, the standards applied follow current requirements of BS7671 (the IEE Regulations for Electrical Installations) and the current Building Regulations.

It is the company’s policy that live working is prohibited although voltage detection testing is permitted where essential by qualified and experienced staff with appropriate controls and suitable equipment. In the unusual circumstance that live working cannot be avoided, replace this sentence with an indication of the additional stringent controls you have implemented including supervision, risk assessment, trained staff, personal protective equipment, the use of a permit to work system etc.

Our own installation will be tested and inspected at least every ____________________ [give frequency e.g. three years for industrial premises – see the testing frequency table within our Guide Electricity - Fixed Equipment’] by a competent electrician and improvements implemented as necessary for safety.

Our arrangements for the electrical safety of portable electrical equipment including __________________ [e.g. tools and office equipment] are covered in the section of this policy on Work Equipment.

Note that it is necessary to include all of this information within your electrical arrangements as these are based on legal requirements. If your business involves electrical engineering, electrical design or testing, or electrical work on the premises of customers it would be essential to include greater detail on the arrangements you have in place for ensuring the safety of those undertaking the work and the quality of workmanship.

# Text boxes

Insert your company logo here

Disclaimer

These example forms, checklists and model policies are provided by Hettle Andrews for general guidance on matters of interest.  In making these documents available to a general and diverse audience it is not possible to anticipate the requirements or the hazards of any subscriber’s business.  Users are therefore advised to carefully evaluate the contents and adapt the forms and checklists to suit the requirements of each situation.  Hettle Andrews does not accept any liability whatsoever for injury, damage or other losses which may arise from reliance on this information and the use of these documents.

Copyright of these documents remains with Hettle Andrews and whilst subscribers are permitted to make use of them for their own purposes, permission is not granted for resale of the intellectual property to third parties.