Model Policy

Passenger Lifts

Organisations which operate passenger lifts should include this section in their policy’s arrangements section. Alter and add to this as necessary to reflect the controls in place within your business.

Passenger Lifts

Passenger lifts under our control are subject to a maintenance contract with a specialist contractor and also receive a Thorough Examination and Test by a competent person every 6 months. Alternatively, a different frequency can be determined within a written scheme of examination prepared by a competent person, but this is relatively unusual. Improvements identified through inspections are undertaken and any defects repaired as required.

Where defects in the lift’s operation become apparent we will take immediate action to take the lift out of service and call our specialist maintenance contractors.  Should there be any concern that a defect recurs despite this expert attention or in the event of any doubt whatsoever over the ongoing safety of the lift, we will arrange for an additional Thorough Examination prior to allowing the lift back into service.	

We monitor to ensure so far as is reasonably practicable that our lift maintenance contractors operate safe systems of work for the protection of building users including the use of barriers at lift landings when the doors are open to the shaft, warning signs when lifts are out of use [and the protection of tools and equipment from unauthorised access – include this phrase particularly in public buildings or places where more vulnerable persons are present e.g. children. Add more controls for facilities used by persons with mental health problems]. We also expect contractors to operate safe systems of work for their own protection and periodic monitoring takes place to check that they appear to be working safely including use of props or other safety devices when working beneath the lift car and work at height controls when working above [if you apply a permit to work system for work in the lift shaft, mention that here].

Lift cars clearly display safe working loads and the maximum number of passengers and we ensure that when building works take place, that the lift is not used inappropriately and that safe load limits are adhered to.

Lift cars are also equipped with emergency lighting and with a passenger alarm/emergency telephone.  Lift release procedures are in place involving ________________________ [describe the lift release arrangements e.g. telephone connection directly between the lift car and the maintenance contractor’s emergency desk]. The correct operation of the lift alarm/emergency telephone is tested ______________________ [e.g. as part of our monthly workplace monitoring programme] and the result recorded.

Records of maintenance and inspection are held _______________________________ [describe location].

Note that it may not be necessary to undertake all of the risk control measures listed, although similar measures will be required to cover all of the areas described.

# Text boxes

Insert your company logo here

Disclaimer

These example forms, checklists and model policies are provided by Hettle Andrews for general guidance on matters of interest.  In making these documents available to a general and diverse audience it is not possible to anticipate the requirements or the hazards of any subscriber’s business.  Users are therefore advised to carefully evaluate the contents and adapt the forms and checklists to suit the requirements of each situation.  Hettle Andrews does not accept any liability whatsoever for injury, damage or other losses which may arise from reliance on this information and the use of these documents.

Copyright of these documents remains with Hettle Andrews and whilst subscribers are permitted to make use of them for their own purposes, permission is not granted for resale of the intellectual property to third parties.