Model Policy

Pressure Systems

# Text boxes

Insert your company logo here

First Published February 2009

Reviewed and updated: October 2014

Disclaimer

These example forms, checklists and model policies are provided by Hettle Andrews for general guidance on matters of interest.  In making these documents available to a general and diverse audience it is not possible to anticipate the requirements or the hazards of any subscriber’s business.  Users are therefore advised to carefully evaluate the contents and adapt the forms and checklists to suit the requirements of each situation.  Hettle Andrews does not accept any liability whatsoever for injury, damage or other losses which may arise from reliance on this information and the use of these documents.

Copyright of these documents remains with Hettle Andrews and whilst subscribers are permitted to make use of them for their own purposes, permission is not granted for resale of the intellectual property to third parties.

Page 1                                                                                                                                Hettle Andrews Model Policy 2014

www.Hettle Andrews.co.uk

A Hettle Andrews Model Policy: Pressure Systems

This policy arrangements section should be included by organisations with pressure systems or vessels which fall under the requirements of the Pressure Systems Safety Regulations 2000.

A pressure system covers anything that contains a ‘relevant fluid’. A relevant fluid is steam at any pressure, or any fluid or mixture of fluids that may exert a pressure in excess of 0.5 bar (7 lbf/in2). Fluids include gases, liquids or vapours - for example compressed air, nitrogen, oxygen, acetylene, pressurised hot water, etc. Typical examples of this type of equipment are: Steam boilers and systems; pressurised process plant and piping; compressed air systems (fixed and portable); pressure cookers, autoclaves and retorts; heat
exchangers and refrigeration plant.

Read the Hettle Andrews Guide on Pressure Systems for a more detailed review of the application of the regulations and the management arrangements required.

In writing this template, we have assumed that the company is both the owner and the user of the system.  If you are not responsible in both of these roles, you should take advice on the limitations of your role in maintaining the system and then amend this policy accordingly.

Pressure Systems

The company has identified the following systems/vessels which fall within the requirements of the Pressure

System Safety Regulations 2000: ______________________________________________________

A written scheme of examination has been drawn up by our competent person and that written scheme is held in a location readily accessible to the plant. Examination and testing is carried out by ____________________________________ [our insurance inspector/other competent person] in accordance with the written scheme.

We have appointed _____________________________  [name or job title] as our responsible person to operate the pressure system on a day-to-day basis including undertaking [daily/periodic] checks and the planned preventative maintenance schedule. ______________________________ [name or job title as above] has been trained in the safe systems of work which have been devised as a result of risk assessments of the work activities. He has been made aware that the system may not be modified without the changes being first evaluated by the competent person.  The safe operating limits of the equipment are clearly displayed for the information of our maintenance personnel.

Appropriate emergency response procedures have been devised.

Records are retained of all inspections, testing, examinations and maintenance which takes place and of any other correspondence or report relating to the system. Our maintenance log is also used to record any abnormal or particularly arduous operating conditions and these records are made available to the competent person during the next examination.

Note that it may not be necessary to undertake all of the risk control measures listed, as the Regulations are complicated and provide for exceptions relating to lower risk vessels. You should seek advice from your competent Health and Safety Advisor in order to ensure that this policy document correctly reflects the requirements placed on the company. See further information in the Hettle Andrews Pressure Systems Guide.