| Is the fire safety risk assessment up to date? | Yes No |
| --- | --- |
| Are fire extinguishers and fire alarm call points visible and accessible? | Yes No |
| Are the fire extinguishers sufficient in number and suitable for the potential fire hazards eg, F type for use on kitchen fat fires? | Yes No |
| Have the fire extinguishers been serviced within the last year? | Yes No |
| Are appropriate fire or smoke detectors in place, relevant to the type of fire and circumstances? eg, heat detectors in a lab. | Yes No |
| Is the fire alarm system subject to scheduled servicing? | Yes No |
| Are the names and locations of fire marshals and first aiders displayed and known to staff? | Yes No |
| Are all fire doors closed (except where held on hold open devices which release automatically in the event of an alarm)? | Yes No |
| Is there emergency lighting covering escape routes and hazard areas, and is it subject to a monthly testing regime? | Yes No |
| Are ‘no smoking’ signs displayed and is it clear that rules are obeyed? | Yes No |
| Is all signage displayed as required eg fire escape, fire action notices, fire extinguisher signs, fire exit instructions, fire doors, assembly point, hazard warnings, mandatory instructions? | Yes No |
| Is the HSE official poster ‘Health and safety law – what you should know’ displayed (or the equivalent leaflet provided to all staff)? (ISBN 9780717663149 Available from The Stationery Office or HSE books) | Yes No |
| Is the Employers’ Liability Insurance certificate displayed (either electronically or physically in the office)? | Yes No |
| Are there sufficient numbers of suitably stocked first aid boxes? | Yes No |
| Is there a schedule for regularly checking the contents of first aid boxes? | Yes No |
| Is there a first aider present (or an appointed person where appropriate)? | Yes No |
| Are eating/kitchen facilities clean and adequate for the number of staff on site? Note. It may be appropriate for people to eat at their desks | Yes No |
| Are toilet facilities clean and adequate for the number of staff on site? | Yes No |
| Are washing facilities clean and adequate for the number of staff on site? | Yes No |
| Is hot water at a safe temperature, or ‘danger, very hot water’ signage displayed where this cannot be achieved? | Yes No |
| Where necessary to protect vulnerable persons, are hot water and hot surfaces adequately controlled/protected and subject to a testing regime? | Yes No |
| Are changing and locker facilities clean and adequate for the number of staff on site (where required)? | Yes No |

| Is the general working environment clean with a good standard of housekeeping? | Yes No |
| --- | --- |
| Is the working environment at an appropriate temperature? | Yes No |
| Are sufficient thermometers displayed in order to gauge the temperature of the work environment? | Yes No |
| Is the general working environment, both internally and externally adequately lit? | Yes No |
| Is the general working environment adequately ventilated? | Yes No |
| Do staff have sufficient space to safely carry out their work? | Yes No |
| Is drinking water provided with appropriate signage to distinguish drinking from non-drinking water where applicable? | Yes No |
| Is the working environment free from excessive noise and vibration? | Yes No |
| Are all accessible places where a person may fall appropriately guarded (consider guard railing on stairs and landings, attic areas, loft hatches, fragile surfaces, flat roofs and window restriction if appropriate)? | Yes No |
| Is there a lack of hazards from falling objects eg from mezzanine floors and landings? | Yes No |
| Are the guards in place on all plant and machinery? | Yes No |
| Are potentially dangerous items of plant and machinery restricted by locks etc to authorised persons? | Yes No |
| Are emergency stop devices provided and labelled, for all powered machinery and plant? | Yes No |
| Are windows and glazing constructed of safety materials or otherwise protected where necessary? | Yes No |
| Are large areas of glass marked for visibility? | Yes No |
| Can windows be cleaned safely? | Yes No |
| Can windows be opened safely and can you confirm that they do not cause a hazard to passers by when open? | Yes No |
| Does all plant and machinery have appropriate examination/service schedules? | Yes No |
| Are doors, gates and shutters in good repair with safety mechanisms in working order? | Yes No |
| Are powered doors, gates, barriers, shutters, escalators and walkways subject to a servicing contract? | Yes No |
| If chemicals are stored, are they stored appropriately in accordance with the ‘COSHH’ assessment? | Yes No |
| Where local extraction is provided to control hazardous substances (eg fume cupboards) are these subject to servicing and statuary examination? | Yes No |
| Is there an asbestos management plan with materials clearly signed, or alternatively a statement to confirm that the premises is asbestos free? | Yes No |

| Is there an assessment of legionnaire’s disease risk? | Yes No |
| --- | --- |
| Where air conditioning is provided is this subject to a maintenance regime? | Yes No |
| Is gas fired equipment subject to servicing and maintenance by a gas safe registered engineer? | Yes No |
| Are lifts subject to servicing and statutory inspection, with the correct signage displayed? | Yes No |
| Are services, pipelines etc properly labelled? | Yes No |
| Are storage tanks bunded with valves locked? | Yes No |
| Are vulnerable facilities protected from vehicle damage? | Yes No |
| Are overhead power lines clearly highlighted? | Yes No |
| Are stores/stockpiles safely stacked with safe access to stored items? | Yes No |
| Are pedestrian and vehicle routes in good order, safely organised and free from obstruction? | Yes No |
| Are floors even and well maintained? | Yes No |
| Are there effective procedures to deal with spillages and snow and ice in winter? | Yes No |
| Is there an absence of slip, trip or fall hazards, such as frayed carpets, trailing cables, wet floors or unprotected changes of floor level? | Yes No |
| Is waste stored appropriately, with regard to health and fire risks, and not allowed to accumulate in the workplace? | Yes No |
| Is the electrical installation and portable appliances subject to periodic inspection and testing? | Yes No |
| Are company vehicles regularly serviced by a competent organisation? | Yes No |
| Are employees wearing the correct personal protective clothing/equipment? | Yes No |
| Are correct manual handling techniques actually in use? | Yes No |
| Are the workstations of display screen equipment users correctly laid out? | Yes No |

# Text boxes

Page 1	                                                                                                                                  Hettle Andrews Checklist 2014

www.hettleandrews.co.uk

Page 2	                                                                                                                                  Hettle Andrews Checklist 2014

www.hettleandrews.co.uk

Reviewed April 2014

Disclaimer

These example forms, checklists and model policies are provided by Hettle Andrews for general guidance on matters of interest.  In making these documents available to a general and diverse audience it is not possible to anticipate the requirements or the hazards of any subscriber’s business.  Users are therefore advised to carefully evaluate the contents and adapt the forms and checklists to suit the requirements of each situation.  Hettle Andrews does not accept any liability whatsoever for injury, damage or other losses which may arise from reliance on this information and the use of these documents.

Copyright of these documents remains with Hettle Andrews and whilst subscribers are permitted to make use of them for their own purposes, permission is not granted for resale of the intellectual property to third parties.

Page 3	                                                                                                                                  Hettle Andrews Checklist 2014

www.hettleandrews.co.uk